## Slide 1
Water Resources Management for Nablus Governorate
Prepared By
Lana "Mohammed Ameen" Shahbari

## Slide 2: Objective
Having a knowledge about existing water resources in Nablus Governorate.
Estimating the future water demand for municipal & industrial purposes.
To bridge the gap between future demand & existing supply.
Making an investment plan for the proposed projects.

## Slide 3: Study Area
Location

## Slide 4
Land use
Topography

## Slide 5: Climate
The average annual rainfall is 622 mm/year.
The annual wind speed is 6.4 km/hr.
The average maximum temperature is 29.4 C⁰.
The average minimum temperature is 6.2 C⁰.
The annual relative humidity is 60%.
The average annual evaporation is 1850 mm/year.

## Slide 6: Demography and Population
Total population in 2007 is (317,447) person.
The growth rate from 2007 to 2010 is 2.332 %

## Slide 7: Existing Water Resources
Two types of resources :
Ground water resources
2. Surface water resources

## Slide 8: Municipal wells

## Slide 9: Agricultural wells

## Slide 10
Springs.

## Slide 11: Present Water Demand

## Slide 12
Total number of communities is 64.
Total number of served communities is 36.
Total number of un-served communities is 28.
Total supply in 2007 is 9.895 Mcm.
The average per capita water demand is 97 L/c/day.
The avarge per capita water consumed is 68 L/c/day.
Percent loss is 30 %

## Slide 13
The percent loss is due to the unaccounted-for water, includes :
Physical loss.
Meter loss.
Leakage from the networks.

## Slide 14: Future Water Needs
Planning assumptions :
Population projection.
Future municipal & industrial water needs.
o Domestic water demand.
- Target level is (100 L/c/day).
- Increase by 2L/c/day per year.

## Slide 15
Commercial & industrial water needs.
Other demand.
Water conservation.
minimize the percent loss from 30% in 2007 to 15% in 2030.
Agricultural water demand.

## Slide 17: Nablus Governorate Cluster

## Slide 19
The existing supply & the estimated future water demand is :

## Slide 20
The estimated future water gap is:

## Slide 21: Proposed Future Water Sources
Additional water sources
Water demand management.
o It can be controlled using management tools such as :
- installation of water meters and charging fees.
- applying different tariffs for different housing areas.
- Generation of awareness about prudent use of water.

## Slide 22
Water harvesting.

## Slide 23
Rehabilitation of existing water networks.

## Slide 24
The final gap after implemented these local options is :

## Slide 25
Ground water sources.
The proposed wells are :

## Slide 26: The investment Plan
The proposed packages :
Package one (Rujeib & Biet Furik Wells, Aqraba Cluster).

## Slide 27
Package Two (Madama & Zeita Jamma’in Wells, Awarta Cluster)

## Slide 28
Package Three (Yasid Well, Al Bathan Cluster).

## Slide 29
Package Four (Tell Reservoir, Nablus Cluster)

## Slide 30
Package Five (Qabalan Reservoir, Awarta Cluster)

## Slide 31
Package six (Al-Hiesbeh & Burqa Wells, Nablus Cluster)

## Slide 32
Package Seven (Deir Sharaf well, Nablus Cluster)

## Slide 33
Package Eight (Burqa Reservoir, Sabastiya Cluster)

## Slide 34
The Total Investment is (44,858,830) $.

## Slide 35: Cash Flow
Chart: Year
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
Package One | 4.034 | 2.691
Package Two | 4.685 | 3.123
Package Theree | 4.107 | 2.738
Package Four | 0.649 | 0.432
Package Five | 0.706 | 0.471
Package Six | 7.707 | 5.138
Package Seven | 4.67 | 3.114
Package Eight | 0.356 | 0.237

## Slide 36
Based on the above cash flow, the following can be stated:
The total investment = 44,858,830 $.
2. The average annual investment = 1,950,384 $.
3. The average per capita investment = 100.37 $/capita.
4. The house hold cost = 1.96$/month (7.1 NIS/month).
5. The unit costs can be seen in appendix {B}.

## Slide 37
Thank you